{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Configuration","Data","Parameters","kV Cal","Accu-Dyn"],"not_rendered":{"charts":7,"images":0,"macros":1,"external_links":1,"defined_names":4,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Configuration","index":0,"n_rows":43,"n_cols":32,"rows_kept":43,"cut":false,"hidden":true,"merged":[[1,20,1,23],[1,4,1,7],[1,8,1,11],[1,12,1,15],[1,16,1,19]]}
["Name of Applicable Sheet",null,null,"Accu-Dyn",null,null,null,null,1,"ID row",1,"ID col",54,"Date row",4,"Date col",54,"Time row",4,"Time col",54]
["Test No.","Start row","End row","No. values","Out as col, source row, source col and SF",null,null,null,"Out as col, source row, source col and SF",null,null,null,"Out as col, source row, source col and SF",null,null,null,"Out as col, source row, source col and SF",null,null,null,"Out as col, source row, source col and SF"]
[1,6,6,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[2,7,7,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[3,8,8,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[4,9,9,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[5,10,10,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[6,11,11,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[7,12,12,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[8,13,13,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[9,14,14,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[10,15,15,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[11,16,16,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[12,17,17,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[13,18,18,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[14,19,19,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[15,20,20,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[16,21,21,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[17,22,22,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[18,23,23,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[19,24,24,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[20,25,25,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[21,26,26,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[22,27,27,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[23,28,28,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[24,29,29,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[25,30,30,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[26,31,31,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[27,32,32,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[28,33,33,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[29,34,34,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[30,35,35,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[31,36,36,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[32,37,37,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[33,38,38,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[34,39,39,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[35,40,40,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[36,41,41,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[37,42,42,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[38,43,43,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[39,44,44,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[40,45,45,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]
[41,46,46,7,4,13,5,1,5,11,10,1,6,21,5,1,7,4,10,1,8,5,10,1,9,16,5,1,10,5,4,1]

{"sheet":"Data","index":1,"n_rows":116,"n_cols":22,"rows_kept":116,"cut":false,"hidden":true,"merged":[[0,8,0,19],[12,20,12,21],[0,0,0,2],[1,0,1,1],[0,5,0,7],[10,3,10,5],[50,3,50,5],[28,3,28,5],[12,9,12,19],[37,0,37,1],[20,0,20,1],[12,0,12,1]]}
["Settings",null,null,0,0,"Mode Monitors",null,null,"Post-Exposure Outputs"]
["USB Interface",null,null,-1,0,"Initial","Refine","Measure","Output","Value","Units","Output","Value","Units","Output","Value","Units","Output","Value","Units"]
["Handle",null,0,"C:\\Windows\\System32\\AccuGoldExcel801.xls","Blocks",null,1,413,"Int. Width",8.5811201002798043E-2,"s","Pulses",1,null,"kV Width",null,"s","kVp",null,"kV"]
["Minimum Index",null,0,"10Jul2018","Synch",null,27,27,"Aux",null,"cd*s/m^2","Pls Rate",11.653490317276797,"Hz","Pulses",null,null,"PPV",null,"kV"]
["Transfer size in bytes",null,62528,"09:07:49","Min read ms",null,438,0,"Aux Rate",null,"cd/m^2",null,null,null,"Avg kV",null,"kV","Peak freq",null,"Hz"]
["Data-mode timeout (ms)",null,220,1,"Cal Mon","Handle=0","User Input","Errors","Diode",null,"Gy","Dose/mAs",null,"Gy/mAs","Filtration",null,"mm-Al","0-pk ripple",null,"kV"]
["Cmnd-mode timeout (ms)",null,650,5,126,"CTRL-SHFT with key. Esc exits.",null,null,"D Rate",null,"Gy/s","Dose/pls",null,"Gy/pls","HVL",null,"mm-Al","Biased Avg",null,"kV"]
["Synch MSByte (sy2)",null,128,null,388,"R runs; C clears; U updates code.",null,null,"Chamber",null,"Gy","Dose/mAs",null,"Gy/mAs","Dose",null,"Gy","Avg peak",null,"Gy/s"]
["Synch (sy1)",null,0,null,563,"P re-analyzes data; W writes files.",null,null,"Ch Rate",null,"Gy/s","Dose/pls",null,"Gy/pls","Dose Rate",null,"Gy/s","Pulse rate",null,"Hz"]
["Synch LSByte (sy0)",null,0,null,3,"Version 8.11.1631; DLL 2.01.1631",null,null,"mAs",null,"mAs",null,null,null,"Dose/mAs",null,"Gy/mAs","Noise",null,"kV rms"]
["Sample interval (us)",null,102.4,"Real-Time Outputs",null,null,"Zero out",7,"mA",null,"mA",null,null,null,"Dose/pls",null,"Gy/pls","Avg pulse",null,"ms"]
["Max command re-tries",null,3,"Output","Value","Units","Filter Avg","Time (s)","Zero val",99492.572569089039,98377.706653019442,97026.65854657114,98780.122824974416,102361.63428863868,8387993.1479017409,8386845.8864892526,98610.030808597759,8472795.6337768678,{"$f":"Q5","v":"kV"},{"$f":"Q9","v":"Gy/s"},"Hz","kV"]
["Zeroing",null,null,"Trig. Width",null,"s",8386845.8864892526,0,"s","Data values with decimation of 1 and half-power bandwidth of 4300Hz.",null,null,null,null,null,null,null,null,null,null,"Ripple Spectrum"]
["Auto Close? Neg repeat",null,-3,"RT Width",null,"s"]
["Zero-buffer size in blocks",null,1,"Aux",null,"cd*s/m^2"]
["Initial-average size in blocks",null,5,"Aux Rate",null,"cd/m^2"]
["Filter TC in blocks power of 2",null,4,"Diode",null,{"$f":"K6","v":"Gy"}]
["OK consecutive errors",null,3,"D Rate",null,"Gy/s"]
["OK error-time extend",null,3,"Chamber",null,"Gy"]
["Max refine blocks",null,1,"Ch Rate",null,"Gy/s"]
["Measuring",null,null,"mAs",null,"mAs"]
["Max measure blocks",null,600,"mA",null,"mA"]
["Measure memory blocks",null,1500,"kV",null,{"$f":"Q5","v":"kV"}]
["Start TC in samples",null,8,{"$f":"O6","v":"Filtration"},null,{"$f":"Q6","v":"mm-Al"}]
["Stop TC in samples",null,8,{"$f":"O7","v":"HVL"},null,{"$f":"Q7","v":"mm-Al"}]
["Blocks in real-time update",null,5,"kV Dose",null,{"$f":"Q8","v":"Gy"}]
["0=Gy; 1=R; 2=Gy,C; 3=R,C",null,0,"Dose Rate",null,{"$f":"Q9","v":"Gy/s"}]
["Meas T = 1; Meas P = 2",null,0,"Pulses",0]
["Temperature in C",null,0,"Identification Outputs"]
["Pressure in kPa",null,0,"Digitizer type and S/N",null,"xx.xxxx"]
["Anode-filter drop-down list",null,"WAl-Diag","Firmware version",null,"xx.xx"]
["End zero blocks; pos. re-trig.",null,5,"Digitizer cal date",null,"yyyy-mm-dd"]
["Min pulse-count threshold",null,667,"Digitzer cal lab ID",null,"RADCAL"]
["Manual zero for input volts",null,0,"Digitzer cal report",null,"R123456"]
["Delay of mA in samples",null,35,"Dose-diode S/N",null,"tt-nnnn"]
["Chamber time constant (ms)",null,27.7,"Dose-diode ID",null,"RQA             "]
["Number of averages in peak",null,3,"Dose-diode cal date",null,"yyyy-mm-dd"]
["Post-exposure Outputs",null,null,"Dose-diode cal lab ID",null,"RADCAL"]
["Graph pts or BW in Hz if neg.",null,-4300,"Dose-diode cal report",null,"R123456"]
["Dose integration start in sec",null,5.0000000000000001E-3,"Ion-chamber S/N",null,"tt-nnnn"]
["Dose integration stop in sec",null,-0.01,"Ion-chamber ID",null,"6cc             "]
["AGMS integration start in sec",null,5.0000000000000001E-3,"Ion-chamber cal date",null,"yyyy-mm-dd"]
["AGMS integration stop in sec",null,-0.01,"Ion-chamber cal lab ID",null,"RADCAL"]
["Display start in seconds",null,-0.1,"Ion-chamber cal report",null,"R123456"]
["Display stop in seconds",null,-0.1,"Aux type and S/N",null,1.0001]
["Min pulse gap in samples",null,10,"Aux description",null,"light"]
["0=avg; 1=PPV; 2=PPV+FFT",null,20,"Aux date as yyyy-ddd",null,"2009-34"]
["Max FFT displayed freq in Hz",null,5000,"kV type and S/N",null,1.0001]
["Max FFT drop-out rate in Hz",null,2100,"kV description",null,"kV-D "]
["Max pulse rate for cf in Hz",null,400,"kV date as yyyy-ddd",null,"2009-34"]
["Min line frequency in Hz",null,49]
["File number. <1 skips write",null,0]
["Default folder for files"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["WAl-Diag"]
["MoMo"]
["MoRh"]
["MoMo-DMR"]
["MoRh-DMR"]
["RhRh-DMR"]
["WAg"]
["WRh"]
["WAl"]
["M1"]
["M2"]
["M3"]
["M4"]
["M5"]
["M6"]
["M7"]
["D1"]

{"sheet":"Parameters","index":2,"n_rows":94,"n_cols":22,"rows_kept":94,"cut":false,"hidden":true,"merged":[[10,4,10,12],[26,4,26,12],[26,13,26,21]]}
["Digitizer input:",null,"Type code",0,"kV - D1","kV - D2","kV - D3","kV - D4","Aux","Diode","Chamber","kV - D5","mA"]
["Digitizer output number:",null,null,null,1,2,3,4,5,6,7,8,9]
["0=irrelevant; fraction relative stop threshold",null,null,null,0,1,1,1,1.5,0,0,0,1]
["Upper zero limit of block average",null,null,"    p11139",167835,167835,167835,167835,167835,167835,150727,20000000,8886947]
["Lower zero limit of block average",null,null,"    p11139",59455,59455,59455,59455,59455,59455,42346,0,7890269]
["Start threshold. Neg uses block average",null,null,null,20000000,20000000,20000000,20000000,1000000,20000000,20000000,20000000,20000000]
["Stop threshold. Neg uses block average",null,null,null,0,0,0,0,500000,0,0,0,0]
["Scale factor",null,null,null,2.7006699948147137E-13,9.8762399810376188E-14,4.1690699919953852E-14,1.5977799969322626E-13,2.9802321971389773E-7,1.2913504407592211E-8,3.7281106600618844E-7,0.99999999904000003,2.4080299999999999E-4]
["Integrated units",null,null,null,null,null,null,"Gy","cd*s/m^2","Gy","Gy",null,"mAs"]
["Rate units",null,null,null,null,null,null,"Gy/s","cd/m^2","Gy/s","Gy/s",null,"mA"]
[null,null,null,null,"Default scale factors with unit designators"]
["Gy nominal scaling - pp11090 to 11092a",null,null,null,2.7006700000000001E-13,9.8762399999999997E-14,4.1690699999999997E-14,1.5977800000000001E-13,2.9802322E-7,7.1579554999999997E-8,7.1579554999999997E-8,1,2.4080299999999999E-4]
["Integrated units",null,null,null,null,null,null,"Gy","cd*s/m^2","Gy","Gy",null,"mAs","lx*s"]
["Rate units",null,null,null,null,null,null,"Gy/s","cd/m^2","Gy/s","Gy/s",null,"mA","lx"]
[]
["R nominal scaling - pp11090 to 11092a",null,null,null,3.0814600000000001E-11,1.1268800000000001E-11,4.7569099999999998E-12,1.8230599999999999E-11,2.9802322E-7,8.1672300000000007E-6,8.1672300000000007E-6,1,2.4080299999999999E-4]
["Integrated units",null,null,null,null,null,null,"R","cd*s/m^2","R","R",null,"mAs","lx*s"]
["Rate units",null,null,null,null,null,null,"R/s","cd/m^2","R/s","R/s",null,"mA","lx"]
[]
["Gy - C nominal scaling - pp11090 to 11092a",null,null,null,2.7006700000000001E-13,9.8762399999999997E-14,4.1690699999999997E-14,1.5977800000000001E-13,2.9802322E-7,2.4371119999999998E-18,2.5211199999999998E-15,1,2.4080299999999999E-4]
["Integrated units",null,null,null,null,null,null,"Gy","cd*s/m^2","C","C",null,"mAs","lx*s"]
["Rate units",null,null,null,null,null,null,"Gy/s","cd/m^2","A","A",null,"mA","lx"]
[]
["R - C nominal scaling - pp11090 to 11092a",null,null,null,3.0814600000000001E-11,1.1268800000000001E-11,4.7569099999999998E-12,1.8230599999999999E-11,2.9802322E-7,2.4371119999999998E-18,2.5211199999999998E-15,1,2.4080299999999999E-4]
["Integrated units",null,null,null,null,null,null,"R","cd*s/m^2","C","C",null,"mAs","lx*s"]
["Rate units",null,null,null,null,null,null,"R/s","cd/m^2","A","A",null,"mA","lx"]
[null,null,null,null,"Command-mode Outputs",null,null,null,null,null,null,null,null,"Default Command-mode Outputs"]
["Command name",null,null,null,"mA Wait","kV Data","Aux Data","Digitizer ID","DD Data","IC Data","Digitizer Cal","IC Temp"," Aux Temp","mA Wait","kV Data","Aux Data","Digitizer ID","DD Data","IC Data","Digitizer Cal","IC Temp","Aux Temp"]
["Command value (1 byte)",null,null,null,129,130,131,132,133,134,135,136,137,129,130,131,132,133,134,135,136,137]
["Number of bytes in response",null,null,null,0,145,18,36,189,189,29,3,255,0,17,18,36,61,61,29,3,255]
["Delay in ms - MSByte",null,null,null,0,0,0,0,0,0,0,1,0,0,0,0,0,0,0,0,1,0]
["Delay in ms - LSByte",null,null,null,30,50,50,0,90,90,0,174,0,30,50,50,0,90,90,0,174,0]
["Command outputs (1 byte each, max of 61)",null,null,null,0,1,1,120,0,59,31,96,0,null,1,1,120,0,59,31,96]
[null,null,null,null,0,1,1,120,0,1,228,1,0,null,1,1,120,0,1,228,1]
[null,null,null,null,0,0,0,46,1,0,138,159,0,null,0,0,46,1,0,138,{"$f":"MOD(256-MOD(SUM(U$33:U$34),256),256)","v":159}]
[null,null,null,null,0,107,108,120,167,112,82,0,0,null,107,108,120,167,112,82]
[null,null,null,null,0,86,105,120,21,23,24,0,0,null,86,105,120,21,23,24]
[null,null,null,null,0,45,103,120,0,0,9,0,0,null,45,103,120,0,0,9]
[null,null,null,null,0,68,104,120,219,0,3,0,0,null,68,104,120,219,0,3]
[null,null,null,null,0,32,116,120,212,0,10,0,0,null,32,116,120,212,0,10]
[null,null,null,null,0,128,249,120,3,0,3,0,0,null,128,249,120,3,0,3]
[null,null,null,null,0,128,214,46,0,0,123,0,0,null,128,214,46,0,0,123]
[null,null,null,null,0,128,217,120,0,0,2,0,0,null,128,217,120,0,0,2]
[null,null,null,null,0,128,19,120,0,0,123,0,0,null,128,19,120,0,0,123]
[null,null,null,null,0,128,86,121,116,116,2,0,0,null,128,86,121,116,116,2]
[null,null,null,null,0,9,89,121,116,116,167,0,0,null,9,89,121,116,116,167]
[null,null,null,null,0,17,9,121,45,45,3,0,0,null,17,9,121,45,45,3]
[null,null,null,null,0,0,17,121,110,110,85,0,0,null,0,17,121,110,110,85]
[null,null,null,null,0,18,0,45,110,110,3,0,0,null,{"$f":"MOD(256-MOD(SUM(O$33:O$48),256),256)","v":18},0,45,110,110,3]
[null,null,null,null,0,0,98,109,110,110,128,0,0,null,null,{"$f":"MOD(256-MOD(SUM(P$33:P$49),256),256)","v":98},109,110,110,128]
[null,null,null,null,0,0,0,109,110,110,128,0,0,null,null,null,109,110,110,128]
[null,null,null,null,0,0,0,45,82,54,128,0,0,null,null,null,45,82,54,128]
[null,null,null,null,0,0,0,100,81,99,128,0,0,null,null,null,100,81,99,128]
[null,null,null,null,0,0,0,100,65,99,128,0,0,null,null,null,100,65,99,128]
[null,null,null,null,0,0,0,82,32,32,128,0,0,null,null,null,82,32,32,128]
[null,null,null,null,0,0,0,65,32,32,128,0,0,null,null,null,65,32,32,128]
[null,null,null,null,0,0,0,68,32,32,128,0,0,null,null,null,68,32,32,128]
[null,null,null,null,0,0,0,67,32,32,0,0,0,null,null,null,67,32,32,0]
[null,null,null,null,0,0,0,65,32,32,0,0,0,null,null,null,65,32,32,0]
[null,null,null,null,0,0,0,76,32,32,1,0,0,null,null,null,76,32,32,1]
[null,null,null,null,0,0,0,82,32,32,243,0,0,null,null,null,82,32,32,{"$f":"MOD(256-MOD(SUM(T$33:T$60),256),256)","v":243}]
[null,null,null,null,0,0,0,49,32,32,0,0,0,null,null,null,49,32,32]
[null,null,null,null,0,0,0,50,32,32,0,0,0,null,null,null,50,32,32]
[null,null,null,null,0,0,0,51,32,32,0,0,0,null,null,null,51,32,32]
[null,null,null,null,0,0,0,52,32,32,0,0,0,null,null,null,52,32,32]
[null,null,null,null,0,0,0,53,32,32,0,0,0,null,null,null,53,32,32]
[null,null,null,null,0,0,0,54,32,32,0,0,0,null,null,null,54,32,32]
[null,null,null,null,0,0,0,230,128,128,0,0,0,null,null,null,{"$f":"MOD(256-MOD(SUM(Q$33:Q$67),256),256)","v":230},128,128]
[null,null,null,null,0,0,0,0,128,128,0,0,0,null,null,null,null,128,128]
[null,null,null,null,0,0,0,0,121,121,0,0,0,null,null,null,null,121,121]
[null,null,null,null,0,0,0,0,121,121,0,0,0,null,null,null,null,121,121]
[null,null,null,null,0,0,0,0,121,121,0,0,0,null,null,null,null,121,121]
[null,null,null,null,0,0,0,0,121,121,0,0,0,null,null,null,null,121,121]
[null,null,null,null,0,0,0,0,45,45,0,0,0,null,null,null,null,45,45]
[null,null,null,null,0,0,0,0,109,109,0,0,0,null,null,null,null,109,109]
[null,null,null,null,0,0,0,0,109,109,0,0,0,null,null,null,null,109,109]
[null,null,null,null,0,0,0,0,45,45,0,0,0,null,null,null,null,45,45]
[null,null,null,null,0,0,0,0,100,100,0,0,0,null,null,null,null,100,100]
[null,null,null,null,0,0,0,0,100,100,0,0,0,null,null,null,null,100,100]
[null,null,null,null,0,0,0,0,82,82,0,0,0,null,null,null,null,82,82]
[null,null,null,null,0,0,0,0,65,65,0,0,0,null,null,null,null,65,65]
[null,null,null,null,0,0,0,0,68,68,0,0,0,null,null,null,null,68,68]
[null,null,null,null,0,0,0,0,67,67,0,0,0,null,null,null,null,67,67]
[null,null,null,null,0,0,0,0,65,65,0,0,0,null,null,null,null,65,65]
[null,null,null,null,0,0,0,0,76,76,0,0,0,null,null,null,null,76,76]
[null,null,null,null,0,0,0,0,82,82,0,0,0,null,null,null,null,82,82]
[null,null,null,null,0,0,0,0,49,49,0,0,0,null,null,null,null,49,49]
[null,null,null,null,0,0,0,0,50,50,0,0,0,null,null,null,null,50,50]
[null,null,null,null,0,0,0,0,51,51,0,0,0,null,null,null,null,51,51]
[null,null,null,null,0,0,0,0,52,52,0,0,0,null,null,null,null,52,52]
[null,null,null,null,0,0,0,0,53,53,0,0,0,null,null,null,null,53,53]
[null,null,null,null,0,0,0,0,54,54,0,0,0,null,null,null,null,54,54]
[null,null,null,null,0,0,0,0,50,198,0,0,0,null,null,null,null,{"$f":"MOD(256-MOD(SUM(R$33:R$92),256),256)","v":50},{"$f":"MOD(256-MOD(SUM(S$33:S$92),256),256)","v":198}]
["Check-sum test",null,null,null,{"$f":"MOD(SUM(E33:E93),256)","v":0},0,0,0,0,0,0,0,0,0,0,0,{"$f":"MOD(SUM(Q69:Q93),256)","v":0},{"$f":"MOD(SUM(R33:R93),256)","v":0},{"$f":"MOD(SUM(S33:S93),256)","v":0},{"$f":"MOD(SUM(T33:T93),256)","v":0},{"$f":"MOD(SUM(U33:U93),256)","v":0},{"$f":"MOD(SUM(V33:V93),256)","v":0}]

{"sheet":"kV Cal","index":3,"n_rows":22,"n_cols":73,"rows_kept":22,"cut":false,"hidden":true,"merged":[[12,7,12,9],[1,15,1,21],[11,10,11,12],[1,22,1,28],[1,1,1,7],[1,8,1,14],[11,3,11,5],[11,6,11,9],[11,0,11,2],[0,1,0,21],[0,50,0,56],[1,29,1,35],[0,22,0,36],[1,36,1,42],[1,43,1,49],[1,50,1,56],[0,37,0,42],[0,43,0,49]]}
[null,"Columns contain coefficients of powers of thickness for polynomials to generate coeffficients of powers of ratios for kV",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Columns contain coefficients of powers of kV for polynomials to generate coeffficients of powers of R2 for thickness",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Control parameters",null,null,null,null,null,"Coefficients of powers of thickness for dose scaling from kV",null,null,null,null,null,null,"Coefficients of powers of kV for HVL from thickness"]
[null,"Index 0 -- Low-kV values from R1",null,null,null,null,null,null,"Index 1 -- High-kV values from R1",null,null,null,null,null,null,"Index 2 -- Low-kV values from R2",null,null,null,null,null,null,"Index 3 -- Low-kV thickness values from normalized R2",null,null,null,null,null,null,"Index 4 -- High-kV thickness values from normalized R2",null,null,null,null,null,null,"Index 5 -- Miscellaneous",null,null,null,null,null,null,"Index 6 -- Columns contain coefficients of powers of thickness",null,null,null,null,null,null,"Index 7 -- Columns contain coefficients of powers of kV"]
[null,"a0","a1","a2","a3","a4","a5","a6","a0","a1","a2","a3","a4","a5","a6","a0","a1","a2","a3","a4","a5","a6","a0","a1","a2","a3","a4","a5","a6","a0","a1","a2","a3","a4","a5","a6","R2 Norm",null,null,null,null,null,null,"a0","a1","a2","a3","a4","a5","a6","a0","a1","a2","a3","a4","a5","a6"]
["b0",38.059041261274082,238.31393259583606,-736.07560530672743,4420.732114017942,-15588.069084969526,27919.746015506251,-17661.830034418726,153.73226484923532,-420.61485603049937,831.54647387465434,0,0,0,0,32.076379704888026,374.90493159549897,-51.739490585133808,0,0,0,0,-1868.4967230969439,5800.8441806389565,-6799.2425874622058,3500.3957217119269,-811.41634700245299,76.464444376450615,-5.3709207444381128,76756.707251475033,-213717.60095858379,104646.77325572698,219644.6730818263,-307858.38471439987,144042.97344130752,-23564.627202740125,-0.24595921922804262,10,6,80,-20,36,150,10.240054574438902,-7.8231775207818502E-2,8.9998049853452159E-4,-5.1272516523938656E-6,1.1678153818294982E-8,0,0,0.21277932413005984,-0.51333390579558347,5.7506097444050393E-2,-2.7507713910711346E-3,4.072990468907134E-5,0,0,31.794751136337201,364.41559711869252,-718.56517201699648,1463.909185817465,838.14292973704642,0,0,163.840088148354,-463.79157905973648,1091.7781675054378,464.24585888102189,0,0,0,43.000100000000003]
["b1",-0.96337198664151757,1.928424078459803,-41.405677994927494,66.706471431480068,405.18236486235764,-1782.0027541945155,1645.4911612013718,-7.8422652466649767,17.515991684006664,-37.507350046070776,0,0,0,0,-0.12645819397144231,-95.453451216588761,80.477720744722163,0,0,0,0,241.98502740152048,-795.87114206013246,1017.33755601647,-623.28092562655604,202.49261706338632,-35.911362639807201,3.2450266233885867,-2174.6675504846853,2769.1286113828637,10193.984251140464,-26715.399459500728,24244.0554841706,-9805.0797342452624,1490.793269451689,9.0921855904092155E-3,0.1,12,40,-18.645202999999999,-1.7471529999999999E-2,-1.7471529999999999E-2,-0.75272111135511666,2.0108106032759126E-2,-2.7144719050820168E-4,1.7086352624473904E-6,-3.8942837429716121E-9,0,0,2.0350409900222532E-2,3.1254986506321449E-2,-3.4660873790663938E-3,1.5799082481117565E-4,-2.2607861729669294E-6,0,0,1.1157538039817048,-84.598883937336566,402.50800993077769,-1154.4829889583664,645.41741019674566,0,0,-89.197197059438366,505.77951976292667,-1163.727122914376,686.13807028178076,0,0,0,41548.559675925928]
["b2",0.12667082754351391,-1.3272100799686721,9.0108498526945002,-28.170325389769435,34.279111505496211,31.504658046538253,-64.029454233098278,2.3490622575872089,-6.1127731574224669,5.2560495631403104,0,0,0,0,3.8488033080764515E-6,12.716917282460397,-14.196013971467661,0,0,0,0,-12.137664272533344,41.466383044120448,-55.804859157532498,37.242206094884665,-13.621857155053851,2.7404470907910699,-0.25699749039438508,5.4674721487825435,129.50640774204902,-572.18953159844398,918.42901212815184,-705.79908580003848,262.47592874253041,-37.951697958374361,-5.0845181969560058E-5,1,42,160,0.85068359999999998,1.0308200000000001E-5,1.0308200000000001E-5,6.3264614111385772E-2,-1.7282718565592046E-3,2.3528756480142914E-5,-1.4744610596705597E-7,3.3853131752871805E-10,0,0,-2.6637367275738499E-4,-3.3372253670238127E-4,5.381696677750192E-5,-2.6316075023139306E-6,3.8385283127730282E-8,0,0,-1.0323268661818864E-2,7.7370792129183181,-40.903943552863424,140.67687492061469,-95.410661965054601,0,0,17.532212446345774,-91.955154414941106,191.67512942091463,-117.77352537309702,0,0,0,1,0]
["b3",-6.3889856391008224E-3,8.2246313937494347E-2,-0.50239554022937283,1.5550209008353808,-2.4238308411315446,0.78743412546103264,1.0005238586753451,-0.15108529440127366,0.40885380414859318,-0.31599026215231801,0,0,0,0,2.2075654413123147E-3,-0.90199533970098256,1.1436421716419192,0,0,0,0,0.30990277011360007,-1.0897318287707749,1.5217968309068115,-1.0727806138265878,0.41901627778954531,-8.9485166080455314E-2,8.5526649985883212E-3,0.4260411451676,-3.7019278100680282,10.657136155527807,-14.476027680372741,10.181585065838874,-3.5860841568103483,0.49997763978902604,1.4354516569535499E-7,1.2108648270119848E-11,1.5,17,-1.9681379999999998E-2,2.30819E-5,2.30819E-5,-1.9291953731360848E-3,5.1981006243285493E-5,-7.1406684925361839E-7,4.4887587849084948E-9,-1.0325614210343777E-11,0,0,2.6299357825254497E-6,2.2315542859854305E-6,-4.1144280308116824E-7,2.014875079613398E-8,-2.9203149840440302E-10,0,0,6.7724278161288981E-3,-0.54114628339537363,2.7840820255386114,-9.7002213903859449,6.9943440006979554,0,0,-1.8550382303903545,9.4804450916018013,-18.245771696297005,10.98234329818572,0,0,0,1022,0]
["b4",1.039744247609546E-4,-1.4618752352382014E-3,8.7737278166238695E-3,-2.6743774490707549E-2,4.3059388533767076E-2,-2.5601483724795527E-2,-2.8090021916979588E-3,4.0606638676293832E-3,-1.1033844756122528E-2,8.1790636269796924E-3,0,0,0,0,-1.8286602064872154E-4,3.4355193506151765E-2,-4.678885904466569E-2,0,0,0,0,-4.3083244680201908E-3,1.5511477411231923E-2,-2.2299926196762541E-2,1.6354532773460904E-2,-6.6704033135804724E-3,1.4769015387752018E-3,-1.4285356686834311E-4,-5.8598156813618168E-3,3.7860887772874906E-2,-9.4293190237058774E-2,0.11767357947236895,-7.8355718218665701E-2,2.6575074669867485E-2,-3.6052088141853042E-3,-1.4375836772257331E-10,5.1074209459047788E-12,47.6,80,2.5662910000000001E-4,-1.662009E-7,-1.662009E-7,1.9174741159920983E-5,-4.9593227445758759E-7,6.8374782870229405E-9,-4.3105049536218952E-11,9.9211098348346163E-14,0,0,-7.0750977578643744E-9,-5.8602118394063133E-9,1.1158756178454214E-9,-5.4297002544972118E-11,7.8247935876466819E-13,0,0,-3.1887841808624524E-4,2.0115762594705242E-2,-0.10297813878128438,0.36011780160785467,-0.26760986770726203,0,0,8.6397784410474132E-2,-0.44188932186722113,0.8282808824857476,-0.49479021258494416,0,0,0,4]
["b5",0,0,0,0,0,0,0,-3.9115105038699825E-5,1.0578212060351741E-4,-7.6405713022017241E-5,0,0,0,0,5.4959868477090816E-6,-6.6038389714703338E-4,9.4082582519213766E-4,0,0,0,0,3.1129395345154271E-5,-1.1431942875105158E-4,1.682606890538787E-4,-1.2714996839962268E-4,5.34681267176285E-5,-1.2124118088892488E-5,1.1817175365082983E-6,3.0223873852934991E-5,-1.7501113882531345E-4,4.0518186613696191E-4,-4.8053933256943433E-4,3.0840362343496572E-4,-1.0176181546327249E-4,1.3517323435577011E-5,0,3.2382031435018774E-12,104,1,-2.142352E-6,4.3106440000000002E-10,4.3106440000000002E-10,0,0,0,0,0,0,0,0,0,0,0,0,0,0,4.1418911920898748E-6,-3.5426802510667567E-4,1.8549821321722786E-3,-6.6524619982529292E-3,5.0590056230385462E-3,0,0,-1.8299112737585289E-3,9.4013495911341154E-3,-1.7466780408877742E-2,1.0423120710835185E-2,0,0,0,0.51022808797777497]
["b6",0,0,0,0,0,0,0,0,0,0,0,0,0,0,-5.6316864816391355E-8,5.011876977023728E-6,-7.3613023903554673E-6,0,0,0,0,-9.1447034612441166E-8,3.4139255459429707E-7,-5.1203428653591689E-7,3.9579422729536278E-7,-1.7010152828550067E-7,3.9190658925322575E-8,-3.8367138501891006E-9,-5.6166228396143924E-8,3.0726102286365641E-7,-6.8100672047670934E-7,7.8093804522122558E-7,-4.8822676959322202E-7,1.5779739292545847E-7,-2.0616089342214373E-8,0,7.3399276081639266,88,0,0,0,1.2944963437646191,0,0,0,0,0,0,0,0,0,0,0,0,0,0,-2.4780756484385345E-9,2.3243169804495141E-6,-1.2740829051658782E-5,4.7907935745149647E-5,-3.7243718379713621E-5,0,0,1.4397813055124765E-5,-7.4403708740821984E-5,1.380883592270453E-4,-8.2600022363961948E-5,0,0,0,1.8765110047157498]
[]
["Noise Thresholds",null,null,"Three-Sigma Noise Thresholds",null,null,"Coefficients for Practical kV",null,null,null,"Fast-kV Overrides"]
["Diode","Sample","Block Avg","Diode","Sample","Block Avg","   Power","Values",null,null,"Anode-Filter","Sw Fast kV","Min R1 Out"]
["D1",92,2,"D1",92,2,"  Min. kV",20,36,150,"Diag",60,2500]
["D2",103,2.2999999999999998,"D2",103,2.2999999999999998,0,-18.645202999999999,-1.7471529999999999E-2,-1.7471529999999999E-2,"MoMo",-1,2500]
["D3",148,3.3,"D3",148,3.3,1,0.85068359999999998,1.0308200000000001E-5,1.0308200000000001E-5,"MoRh",-1,2500]
["D4",-1000,-10,"D4",92,2,2,-1.9681379999999998E-2,2.30819E-5,2.30819E-5,"MoMo-DMR",-1,2500]
[null,null,null,null,null,null,3,2.5662910000000001E-4,-1.662009E-7,-1.662009E-7,"MoRh-DMR",-1,2500]
["Cal Row",null,null,null,null,null,4,-2.142352E-6,4.3106440000000002E-10,4.3106440000000002E-10,"RhRh-DMR",-1,2500]
[1,null,null,null,null,null,"    EXP?",1,0,0,"WAg",-1,2500]
["  Name for correction data:",null,null,null,null,null,null,null,null,null,"WRh",-1,2500]
[null,null,null,null,null,null,null,null,null,null,"WAl",-1,2500]

{"sheet":"Accu-Dyn","index":4,"n_rows":17,"n_cols":57,"rows_kept":17,"cut":false,"hidden":false,"merged":[[5,0,13,0],[5,1,13,1],[5,2,13,2],[0,0,2,2],[3,0,4,0],[3,1,4,1],[3,2,4,2],[42,0,44,2],[14,0,15,0],[14,1,15,1],[14,2,15,2],[16,0,24,0],[16,1,24,1],[16,2,24,2],[3,8,4,8],[0,3,2,9],[3,9,4,9],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7]]}
["RADCAL ACCU-DYN DISPLAY",null,null,"RECORDED DATA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Accu-Gold: Version 8.11.1557; DLL 2.01.1557"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Digitizer S/N: xx.xxxx",null,null,"light S/N: 01.0001"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Cal date: yyyy-mm-dd",null,null,"Cal date: 2009-34"]
["kVp","kV Average","PPV kV","Time - Sec","mA","mAs","PPV","kVp","kV Ave.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"08:09:39"]
[]
[{"$f":"Data!J5","v":0},{"$f":"Data!E16","v":0},{"$f":"Data!J4","v":0}]
[]
[]
[]
[]
[]
[]
[]
[]
["Time - Sec","mA","mAs"]
[]
[{"$f":"Data!E14","v":0},{"$f":"Data!J11","v":0},{"$f":"Data!E21","v":0}]