## Report
Example Report Template
This is a basic example Report
1. Reproducibility (Coefficient of Variation) |  |  |  | FAIL
| Exposure (mGy) | Energy (kVp) | Time (s)
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
Mean Value: | 0 | 0 | 0
Standard Deviation: | 0 | 0 | 0
COV: | n/a | n/a | n/a

## AG-Data
Accu-Gold |  | Diagnostic X-ray Measurement System by Radcal
This is the AG-Data Sheet, where the measurement Data from Accu-Gold will be placed automatically (by the Excel-Link-Feature of the Accu-Gold 2 PC software).
Version 1.0, compatible with Accu-Gold 2 since Version 2.37 Build 6
agdata_001.000_standardexportformat
Sensor: |  |  |  | AGMS |  | AGMS |  | AGMS |  | AGMS | [16 empty] | AGMS |  | AGMS |  | AGMS |  | AGMS |  | AGMS |  | AGMS |  | AGMS | AGMS | AGMS |  |  | IC |  |  |  | IC |  | IC |  | IC |  | IC | IC | IC | IC |  |  |  | DC |  | DC |  | DC |  | DC |  | DC | DC |  | DD |  | DD |  | DD |  | DD |  | DD | DD | DD | mA |  | mA |  | Lum |  | Lum |  | DAPCheck+ |  | DAPCheck+ |  | DAPCheck+ |  | DAPCheck+ | DAPCheck+ |  | AGMS |  |  | AGMS | DD | IC | mA | Lum | DAPCheck+
Original Index | Start Time | Duration | Duration Unit | kVp | kVp Unit | Dose | Dose Unit | Dose Rate | Dose Rate Unit | HVL | HVL Unit | Pulse Count | Comments | Connection Type | Typical Pulse Count | Pulse Frequency | Pulse Frequency Unit | Ave. Pulse Duration | Ave. Pulse Duration Unit | Pulse Duty Cycle | Pulse Rep. Period | Pulse Rep. Period Unit | Pre Pulse Duration | Pre Pulse Duration Unit | Trigger Level | Trigger Sensor | Calibration Description | Modality | Filtration | Filtration Unit | PPV | PPV Unit | Average kV | Average kV Unit | Dose / Pulse | Dose / Pulse Unit | Dose / mAs | Dose / mAs Unit | Dose / Total Dose | Dose Ratio AGMS / DD | Dose Ratio AGMS / IC | FWHM | FWHM2 Unit | Dose (IC) | Dose (IC) Unit | Dose Length Product | Dose Length Product Unit | Dose Rate (IC) | Dose Rate (IC) Unit | Dose / Pulse (IC) | Dose / Pulse (IC) Unit | Dose / mAs (IC) | Dose / mAs (IC) Unit | Dose / Total Dose (IC) | Dose Ratio IC / AGMS | Dose Ratio IC / DD | Temperature (IC) | Temperature Unit | Air Pressure | Air Pressure Unit | DAP (DC) | DAP Unit | DAP Rate (DC) | DAP Rate (DC) Unit | DAP / Pulse (DC) | DAP / Pulse (DC) Unit | DAP / mAs (DC) | DAP / mAs (DC) Unit | DAP Rate DC / DAPCheck+ | Temperature (DC) | Temperature (DC) Unit | Dose (DD) | Dose (DD) Unit | Dose Rate (DD) | Dose Rate (DD) Unit | Dose / Pulse (DD) | Dose / Pulse (DD) Unit | Dose / mAs (DD) | Dose / mAs (DD) Unit | Dose / Total Dose (DD) | Dose Ratio DD / AGMS | Dose Ratio DD / IC | Charge | Charge Unit | Current | Current Unit | Luminance | Luminance Unit | Illuminance | Illuminance Unit | DAP (DAPCheck+) | DAP Unit2 | DAP Rate (DAPCheck+) | DAP Rate Unit | DAP / mAs (DAPCheck+) | DAP / mAs Unit | DAP Rate DAPCheck+ / DC | Temperature (DAPCheck+) | Temperature (DAPCheck+) Unit | Biased Average kV | Biased Average kV (Unit) | Serial | Serial (AGMS) | Serial (DD) | Serial (IC) | Serial (mA) | Serial (Lum) | Serial (DAPCheck+) | End Dose Rate | End HVL | End Filtration | End Average kV
Note on A7: 5 Measurements for Reproducibility (Coefficient of Variation): Set: Energy: 80 kV Current: 125 mA Time: 100 ms
Note on A11: Next thing to check…